## BOQ
ZAMBIA SUGAR |  |  | CONTRACTOR:
P9-D10 WATER SUPPLY |  |  | ORDER No:
CIVIL, MECHANICAL AND ELECTRICAL WORKS |  |  | DATE:
Item No | Payment | Description | Unit | Qty | Rate (ZMW) | Amount (ZMW)
| SABS 1200A | SECTION 1: PRELIMINARY AND GENERAL
1.1 | 8.3 | FIXED-CHARGE AND VALUE RELATED ITEMS
1.1.1 | 8.3.1 | Contractual Requirements | Sum | 1 | 195000 | 195000
1.1.2 | 8.3.2 | Establish Facilities on the Site : |  |  |  | 0
| 8.3.2.2 | Facilities for Contractor: |  |  |  | 0
1.1.2.1 |  | Offices and storage sheds | Sum | 1 | 118800 | 118800
1.1.2.2 |  | Workshops | Sum | 1 | 59000 | 59000
1.1.2.3 |  | Laboratories | Sum | 1 | 52000 | 52000
1.1.2.4 |  | Ablution and latrine facilities | Sum | 1 | 45500 | 45500
1.1.2.5 |  | Tools and equipment | Sum | 1 | 65000 | 65000
1.1.2.6 |  | Water supplies, electrical power and communications | Sum | 1 | 39000 | 39000
1.1.2.7 |  | Dealing with seepage water, including protection of the works during storm events for the complete project duration for the intake structure and pumpstation | Sum | 1 | 32500 | 32500
1.1.2.8 |  | Dealing with seepage water, including protection of the works during storm events for the complete project duration for the pipeline | Sum | 1 | 26000 | 26000
1.1.2.9 |  | Access | Sum | 1 | 165000 | 165000
1.1.2.10 |  | Provision of temporary lateral support to earthworks where required | Sum | 1 | 59400 | 59400
1.1.3 | 8.3.3 | Other fixed-charge obligations | Sum | 1 | 65000 | 65000
1.1.4 | 8.3.4 | Remove Engineer's and Contractor's Site establishment on completion | Sum | 1 | 59000 | 59000
1.1.5 |  | Compliance with safety and health regulations | Sum | 1 | 39000 | 39000
1.1.6 |  | Setting out of works | Sum | 1 | 45500 | 45500
1.1.7 |  | Coordination with the mechanical and electrical sub-contractors during commissioning of the works | Sum | 1 | 31000 | 31000
0
1.2 | 8.4 | TIME-RELATED ITEMS |  |  |  | 0
1.2.1 | 8.4.1 | Contractual Requirements | No | 1 | 156000 | 156000
| 8.4.2 | Operate and maintain facilities on the Site: |  |  |  | 0
1.2.2 | 8.4.2.2 | Facilities for Contractor : |  |  |  | 0
1.2.2.1 |  | Offices and storage sheds | Sum | 1 | 118800 | 118800
1.2.2.2 |  | Workshops | Sum | 1 | 59000 | 59000
1.2.2.3 |  | Laboratories | Sum | 1 | 52000 | 52000
1.2.2.4 |  | Accomodation | Sum | 1 | 65000 | 65000
1.2.2.5 |  | Ablution and latrine facilities | Sum | 1 | 45000 | 45000
1.2.2.6 |  | Tools and equipment | Sum | 1 | 65000 | 65000
1.2.2.7 |  | Water supplies, electrical power and communications | Sum | 1 | 39000 | 39000
1.2.2.8 |  | Dealing with seepage water, including protection of the works during storm events for the complete project duration for the intake structure and pumpstation | Sum | 1 | 32500 | 32500
1.2.2.9 |  | Dealing with seepage water, including protection of the works during storm events for the complete project duration for the pipeline | Sum | 1 | 26000 | 26000
1.2.2.10 |  | Access | Sum | 1 | 52000 | 52000
1.2.3 | 8.4.3 | Supervision | Sum | 1 | 234000 | 234000
1.2.4 | 8.4.4 | Company and head office overhead costs | Sum | 1 | 195000 | 195000
1.2.5 | 8.4.5 | Other time-related obligations | Sum | 1 | 104000 | 104000
1.2.6 | 8.8.4 | Existing services | Sum | 1 | 65000 | 65000
1.2.7 |  | Compliance with safety and health regulations | Sum | 1 | 39000 | 39000
1.2.8 |  | Coordination with the mechanical and electrical sub-contractors during commissioning of the works | Sum | 1 | 52000 | 52000
0
1.3 | 8.5 | Provisional Sums |  |  |  | 0
1.3.1 |  | Third party witnessing of pump testing | Prov. Sum | 1 | 32500 | 32500
1.3.2 |  | Third party testing of compaction | Prov. Sum | 1 | 26000 | 26000
1.3.3 |  | Third party witnessing of piping protection | Prov. Sum | 1 | 23400 | 23400
1.3.4 |  | Overhead charges and profit on Item 1.3.1 to 1.3.2 (percent to be filled in by the Contractor) | % |  |  | 0
|  | TOTAL CARRIED FORWARD TO SUMMARY |  |  |  | 2577900
| SABS | SECTION 2: EARTHWORKS
2.1 | 1200 C | Site Clearance
2.1.1 | 8.2.1 | Clear and grub:
|  | a) Intake and Pumpstation Structure | m² | 39 | 2120 | 82680
0
|  | b) 2,0 m wide strip along pipeline route | m | 8100 | 120 | 972000
0
| 8.2.8 | c) Demolish, remove paving and walkways including for their reinstatement at Ch 3273 | Sum | 1 | 461425 | 461425
0
| 8.2.5 | d) Remove and reinstate security fences at three crossings of pipeline trench, allow for temporary removal and reinstatement of existing security fences at Ch 3255 and 3850 | Sum | 1 | 260000 | 260000
0
| 8.2.9 | e) Transport rubble and debris to a designated disposal site | Sum | 1 | 370000 | 370000
0
2.2 | 1200 DA | Excavation |  |  |  | 0
2.2.1 | 8.3.1a | Remove topsoil to a nominal depth 150 mm, stockpile and maintain |  |  |  | 0
|  | a) Intake and Pumpstation Structure | m² | 39 | 2650 | 103350
0
2.2.2 | 8.3.1b | Mass excavation for structures up to 5m deep in all materials and stockpile for re-use as backfill or dispose to an approved dump site |  |  |  | 0
|  | a) Intake Structure to 600 beyond outline | m³ | 77 | 2177 | 167629
0
2.2.3 |  | Over-excavate and stockpile for backfill if instructed by the Engineer |  |  |  | 0
|  | a) Intake and Pumpstation Structure | m³ | 5 | 2177 | 10885
0
2.2.4 | 8.3.2a | Restricted excavation in all materials and stockpile for re-use as backfill: |  |  |  | 0
|  | a) Intake and Pumpstation Structure | m³ | 1 | 112155 | 112155
0
2.2.5 | 8.3.1c | Extra-over items 2.2.1 to 2.2.4 for excavation in: |  |  |  | 0
|  | a) Intermediate material | m³ | 5 | 112155 | 560775
0
|  | b) Hard bedrock by non-explosive means | m³ |  | 6580 | 0
0
2.2.6 | 8.3.3 | Transportation of materials beyond common transport distance of 2 km (provisional overhaul) to/from: |  |  |  | 0
|  | a) Intake and Pumpstation Structure (Provisional) | m³.km | 10 | 11235 | 112350
0
2,3 | 1200 DB | Trench Excavation |  |  |  | 0
2.3.1 | 8.3.1a | Remove topsoil to a nominal depth 150 mm for trench width along service trench and pipeline route, stockpile and maintain | m2 | 8092 | 251 | 2031092
0
2.3.2 | 8.3.2a | Excavate 1000 wide pipe trenches for single pipeline in all materials for pipes up to 500mm diameter for depths: |  |  |  | 0
|  | Over Up to |  |  |  | 0
|  | a) 0 1.5 m | m | 2832 | 293 | 829776
0
|  | b) 1.5 3.0 m | m | 1214 | 617 | 749038
0
|  | c) 3.0 5,0 m | m | 5 | 2635 | 13175
0
2.3.3 |  | Excavate for manholes, backfill, compact and dispose of the surplus material as directed by the engineer on site |  |  |  | 0
|  | a) ARV Chambers | m3 | 51 | 399 | 20349
0
|  | b) Scour Chambers | m3 | 15 | 399 | 5985
0
2.3.4 | 8.3.2b | Extra-over item 2.3.2 and 2.3.3 for trench excavation in: |  |  |  | 0
|  | a) Intermediate material | m³ | 15 | 395 | 5925
0
|  | b) Hard bedrock by non-explosive means | m³ |  | 6580 | 0
0
|  | c) Hard bedrock by explosive means | m³ |  | 6580 | 0
0
2.3.5 | 8.3.3 | Transportation of excess materials beyond common transport distance of 2 km (provisional overhaul) to/from pipeline | m³.km | 8200 | 119 | 975800
0
2.4 | 1200 LB | Bedding |  |  |  | 0
2.4.1 | 8.2.1 | Provision of selected granular material for bedding, cradle and blanket from excavated material | m³ | 1100 | 301 | 331100
0
2.4.2 | 8.2.1 | Provision of selected granular material for bedding, cradle and blanket by importation from approved borrow pit or commercial source | m³ | 1640 | 230 | 377200
0
2.4.3 | 1200 DB | Trench Backfilling. Make up defficiency |  |  |  | 0
| 8.3.3.1a | a) Backfilling of trenches with excavated material | m³ | 10 | 356 | 3560
0
| 8.3.3.1b | b) Import trench backfill from designated borrow pit | m³ | 5 | 2220 | 11100
0
0
0
0
0
|  | TOTAL CARRIED FORWARD TO SUMMARY |  |  |  | 8567349
| #NAME? | SECTION 3: CONCRETE WORK
3.1 | 8.2.1 | Formwork rough to:
3.1.2 |  | Vertical plane to:
|  | a) Intake and Pumpstation Structure | m² |  | 215000 | 0
|  | b) Outside walls of pumpstation to 150 mm below ground level | m² |  | 215000 | 0
|  | c) Outside walls of chambers | m² |  | 215000 | 0
3.2 | 8.2.2 | Formwork smooth
3.2.1 |  | Vertical plane to:
|  | a) Intake and Pumpstation Structure | m² | 248 | 2195 | 544360
|  | b) Walls of chambers | m² | 36 | 2195 | 79020
3.2.2 |  | Horizontal plane to roof soffit
|  | a) Intake and Pumpstation Structure | m² |  |  | 0
|  | b) Valve Chamber Roof | m² | 5 | 2195 | 10975
3.3 | 8.2.3 | Formwork special smooth repaired
3.3.1 |  | Vertical plane to outside walls of pumpstation above ground level | m² |  |  | 0
3.4 | 8.2.5 | Formwork smooth narrow widths up to 400mm wide
3.4.1 |  | Vertical plane to:
|  | a) Intake and Pumpstation Structure floor slabs | m | 22 | 2130 | 46860
|  | b) Intake and Pumpstation Structure walls | m | 33 | 2130 | 70290
|  | c) Valve Chambers | m | 9 | 2130 | 19170
3,5 | 8.2.6 | Box out holes
|  | 160x150x250 deep for support beams | No | 8 | 2320 | 18560
|  | Circular, of diameter up to and including 1.0 m for up to 600 NB pipes up to 0,3m deep | No | 10 | 2390 | 23900
|  | 300x250x300 deep for supports of screens | No | 20 | 2325 | 46500
3.6 | PSG 8.10 | Cast into concrete (excluding cost of supply and installation of items)
3.6.1 |  | 400 ND Pipe at ARV Chambers | No | 8 | 4200 | 33600
3.6.2 |  | 1300 long 180PFC Screen supports | No | 10 | 4200 | 42000
3.6.5 |  | 1300 Long 200PFC Pump Supports | No | 4 | 4200 | 16800
3.6.6 |  | 4200 Long I Beam 203x133x25 | No | 4 | 4200 | 16800
3.6.7 |  | M24 HD bolts | No | 32 | 1500
3.7 | 8.3 | Reinforcement
3.7.1 | 8.3.1 | Mild steel "R" bars 8 mm diameter | t | 0.266 | 2175 | 578.55
3.7.2 | 8.3.1 | High tensile steel "Y" bars up to 20 mm diameter
|  | a) Intake and Pumpstation Structure floor slabs | t | 4.62 | 15200 | 70224
|  | b) Valve Chambers | t | 0.7 | 3125 | 2187.5
3.7.3 | 8.3.2 | High tensile welded mesh reinforcement in standard sheets 6,0 x 2,4 m for reservoir:
|  | a) Type 395 | m² |  | 15800 | Rate only
|  | b) Type 617 | m² |  | 22650 | 0
3.8 | 8.4.1 | Grade 25/19 concrete 50 thick blinding layer
3.8.1 |  | Intake and Pumpstation Structure | m² | 22 | 2455 | 54010
3.8.2 |  | Valve Chambers | m² | 18 | 2455 | 44190
3.9 | 8.4.1 | Grade 25/19 concrete
3.9.1 |  | Anchor blocks for 400 ND pipeline | m³ | 12 | 3560 | 42720
3.9.2 |  | Mass concrete encasement to 400 ND pipeline | m³ | 18 | 3560 | 64080 | 1
3.9.3 |  | Pumpstation steps and outside landing | m³ | 2 | 3560 | 7120 | 1
3.10 |  | Mortar screed
3.10.1 |  | 40 - 80 mm thick on top of pumpstation roof slab | m² |  | 1500 | 0
3.11 | 8.4.3 | Strength concrete
3.11.1 |  | Grade 30/19 concrete for water retaining structures
|  | a) Intake and Pumpstation Structure floor slabs | m³ | 7 | 3900 | 27300
|  | b) Intake and Pumpstation Structure walls | m³ | 26 | 3900 | 101400
|  | c) Valve Chambers slab and walls | m³ | 6 | 3900 | 23400
3.11.2 | 8.4.3 | Grade 35/19 for precast covers including for casting steel accesses, recesses and lifting lugs
|  | a) 2400x1700x150 Valve Chamber precast cover including for casting steel access and drip details | No | 1 | 62000 | 62000
3.12 | 8.4.4 | Unformed Surface Finishes
3.12.1 | 8.4.4a | Wood floated finish to upper surfaces of:
|  | a) Intake Structure | m² | 23 | 4300 | 98900
|  | b) Valve Chambers | m² | 5 | 4300 | 21500
3.12.2 | 8.4.4b | Steel floated finish to upper surfaces of:
|  | a) Pumpstation false floor, floor slab and plinths | m² |  |  | 0
3.13 |  | Ancillary items
3.13.1 |  | Drill 400 long 38dia into concrete for Y12 dowel bars | No | 105 | 2120 | 222600
3.13.2 |  | Soilcrete with 7% cement by volume (provisional) | m³ |  |  | 0
3.13.3 |  | Supply and install 20 dia SS304 steps to chambers | kg | 180 | 2234 | 402120
3.14 | 8.7 | Grouting
3.14.1 |  | Dry mix concrete Grade 35MPa/19 mm to 200 to 700 NB pipes | m³ | 2 | 4560 | 9120
3.14.2 |  | Dry mix concrete Grade 35MPa/10 mm to screen supports and steelwork | m³ | 1 | 4560 | 4560
3.14.3 |  | Epoxy grout 'Epidermix 372' or similar approved to dowel bars | litres | 60 | 5140 | 308400
|  | TOTAL CARRIED FORWARD TO SUMMARY |  |  |  | 2535245.05
SECTION 4: NOT USED
0
|  | TOTAL CARRIED FORWARD TO SUMMARY |  |  |  | 0
| SABS 1200 H | SECTION 5: STEELWORK
| 8.3 | Supply and install GMS steelwork, complete with HD bolts and fastenings:
5.1 | 8.3.1.2 | Structural Steelwork
5.1.1 |  | Stoplogs, support and screen frames | t | 0.8 | 17600
5.1.2 |  | Pumps and Grating flooring support | t | 0.9 | 17600 | 15840
5.1.3 |  | Gantry and roof structure | t | 5 | 57600 | 288000
5.1.4 |  | Pipe and valve supports for 250 and 350 ND delivery branch including for 12 dia U-bolts | t | 0.3 | 23400 | 7020
5.1.5 |  | Cold formed section CFLC | t | 0.2 | 22750 | 4550
5.2 | 8.3.7 | Handrails
5.2.1 |  | We-Cro-Lok GMS grip rail 1075 high complete with fastenings, one grip bar for pumpstation | m | 21 | 1550 | 32550
5.2.2 |  | We-Cro-Lok GMS grip rail ends | No | 12 | 585 | 7020
5.2.3 |  | We-Cro-Lok GMS grip rail 90° bend | No | 4 | 845 | 3380
5.3 | 8.3.8 | IBR 0.8 mm thick roofing c/w fasteners | m² | 36 | 585 | 21060
5.4 | 8.3.12 | Supply and Install Ancillary Steelwork,
5.4.1 |  | GMS hinged manhole cover and frame for 600 x 600 clear opening complete for chambers | No | 1 | 8450 | 8450
5.4.2 |  | GMS Locking bar for steel cover 700 mm long with one pair of lugs for reservoir, including 50 mm Viro locks keyed alike | No | 1 | 6240 | 6240
5.5 |  | 304SS 140x140 frame of 20x5 flat bar and #20 woven mesh for ARV chamber holes including for 4 fasteners | No | 16 | 3640 | 58240
5.6 | 8.3.9 | GMS Mentis Rectagrid pressure locked banded grating type RS-40 open grid flooring having 40mm x 4,5mm bearer bars and a mass of 43 kg/m2, including all cutting ,waste, cut outs and galvanising; supplying and laying loose in rebates | m² | 23 | 2340 | 53820
5.7 | 8.3.4 | Anchor Bolts
5.7.1 |  | M12 Stainless Steel Chemical anchors 160 mm long ('HVA-UW' or similar approved) | No | 12 | 234 | 2808
5.7.2 |  | M16 Stainless Steel Chemical anchors 200 mm long ('HVA-UW' or similar approved) | No | 112 | 286 | 32032
5.7.3 |  | M20 Stainless Steel Chemical anchors 240 mm long ('HVA-UW' or similar approved) | No | 128 | 338 | 43264
5.7.4 |  | M24 HD Bolts 600 long c/w end plates, washers and nuts | No | 32 | 585 | 18720
5.8 |  | 304 SS Wedge wire screens panels
5.8.1 |  | Panel 2750x460 with 5 mm aperture running in the 2750 direction in 91CMI profiled wire | No | 4 | 12350 | 49400
5.8.2 |  | Panel 2950x460 with 5 mm aperture running in the 2950 direction in 91CMI profiled wire | No | 4 | 12740 | 50960
|  | TOTAL CARRIED FORWARD TO SUMMARY |  |  |  | 703354
SECTION 6: PIPELINES
6.1 | 1200L | Main Delivery Pipeline
6.1.1 | 8.2.1 | Supply, handle, lay, join and test 400ND Class 9 (PN9) mPVC pipes to SABS 966 | m | 2070 | 860 | 1780200
6.1.2 | 8.2.1 | Supply, handle, lay, join and test 400ND Class 6 (PN6) mPVC pipes to SABS 966 | m | 1790 | 560 | 1002400
6.2 | 8.2.2 | Supply, handle, lay, join and test the following steel pipe fittings PN10 (unless otherwise specified) 400 μm DFT epoxy lined and coated for pipeline c/w bolting and NAF gaskets
6.2.1 |  | Pumpstation
|  | a) 350ND 4.5wt 7820 long pipe flanged | No | 1 | 36400 | 36400
|  | b) 350ND 4.5wt 9700 long pipe flanged | No | 1 | 41600 | 41600
|  | c) 350ND 4.5wt 4000 long pipe flanged | No | 1 | 23400 | 23400
|  | d) 400ND 4.5wt 6975 long pipe flanged | No | 1 | 39000 | 39000
|  | e) 350ND 4.5wt 27° medium radius steel bends (3 segments) flanged both ends 355 c/f | No | 2 | 15600 | 31200
|  | f) 350x400ND 4.5wt 280 long Reducer flanged | No | 1 | 12350 | 12350
|  | g) 400ND Flange adaptor to suit 400 OD PVC pipe | No | 1 | 11050 | 11050
|  | h) Supply and install 'Denso layflat' sheeting and securing tape or similar approved including for profiling mastic and blanket wrapping of VJ couplings or flanges 350 and 400ND | No | 5 | 7640 | 38200
0
6.2.2 |  | Scour |  |  |  | 0
|  | a) 400x100ND 4.5 Bottom tangent Tee 405 c/f, main barrel plain ended and 100ND branch flanged | No | 2 | 28200 | 56400
0
|  | b) 400ND VJ Coupling to suit 400ND Steel and 400 OD PVC pipes | No | 4 | 15850 | 63400
0
|  | c) 100ND PN10 RSV isolating valve 229 f/f, clockwise closing, cap top, key operated, S.G. Iron body and bonnet, fusion bonded epoxy coating internally and externally to minimum dry film thickness of 250micron to SABS 665 c/w sleeve and top CI cover | No | 2 | 15600 | 31200
0
|  | d) 100ND Medium duty 6000 long pipe pe/flanged | No | 2 | 11700 | 23400
0
|  | e) Supply and install 'Denso layflat' sheeting and securing tape or similar approved including for profiling mastic and blanket wrapping of VJ couplings or flanges 400ND | No | 4 | 3640 | 14560
0
|  | e) Supply and install 'Denso layflat' sheeting and securing tape or similar approved including for profiling mastic and blanket wrapping of VJ couplings or flanges 100ND | No | 4 | 2860 | 11440
6.2.3 |  | Anchor Blocks
|  | a) 400ND 4.5wt 22.5 to 45° long radius steel bends (3 segments) flanged both ends 815 c/f | No | 4 | 19500 | 78000
|  | b) 400ND 4.5wt 45 to 90° long radius steel bends (5 segments) flanged both ends 1215 c/f | No | 7 | 23400 | 163800
|  | c) 400ND VJ Coupling to suit 400ND Steel and 400 OD PVC pipes | No | 22 | 5850 | 128700
|  | d) Supply and install 'Denso layflat' sheeting and securing tape or similar approved including for profiling mastic and blanket wrapping of VJ couplings or flanges 400ND | No | 22 | 3640 | 80080
0
6.2.4 |  | ARV Chambers |  |  |  | 0
|  | a) 400x400ND 4.5wt Tee, main barrel 1950 f/f pe for VJ coupling, branch 405 c/f flanged | No | 6 | 20800 | 124800
0
|  | b) 400ND Blank flange welded to 250 long 80ND medium duty pipe flanged | No | 6 | 11050 | 66300
0
|  | c) 400ND VJ Coupling to suit 400ND Steel and 400 OD PVC pipes | No | 12 | 5850 | 70200
0
|  | d) Supply and install 'Denso layflat' sheeting and securing tape or similar approved including for profiling mastic and blanket wrapping of VJ couplings or flanges 400ND | No | 12 | 3640 | 43680
0
6.2.5 |  | Drain Crossings |  |  |  | 0
|  | a) 400ND 4.5wt 12000 long pipe flanged both ends | No | 2 | 46800 | 93600
0
|  | b) 400ND 4.5wt 6000 long pipe flanged both ends | No | 1 | 26000 | 26000
0
|  | c) 400ND VJ Coupling to suit 400ND Steel and 400 OD PVC pipes | No | 6 | 5850 | 35100
0
|  | d) Supply and install 'Denso layflat' sheeting and securing tape or similar approved including for profiling mastic and blanket wrapping of VJ couplings or flanges 400ND | No | 6 | 3640 | 21840
6.2.6 |  | Link to ZS Waterworks
|  | a) Cut existing 250 OD 6wt steel pipe for new tee and make good ends and corrosion protection | No | 2 | 15600 | 31200
|  | b)400x250ND 4.5wt gusseted tee 405 c/f flanged | No | 1 | 18200 | 18200
0
|  | c) 400ND 4.5 wt 750 long puddle pipe, plain ended and flanged ends c/w 40x5 puddle flange | No | 2 | 13650 | 27300
0
|  | d) 400ND VJ Coupling to suit 400ND Steel and 400 OD PVC pipes | No | 2 | 5850 | 11700
0
|  | e) 250ND 4.5 wt 1200 long pipe flanged, one flange loose to be welded on site to suit | No | 2 | 11050 | 22100
0
|  | f) 250ND 4.5wt 90° medium radius steel bends (4 segments) flanged both ends 510 c/f | No | 1 | 12350 | 12350
0
|  | g) 250ND 4.5 wt 650 long puddle pipe flanged c/w 40x5 puddle flange | No | 1 | 10400 | 10400
0
|  | h) 250ND 4.5wt gusseted tee 405 c/f flanged | No | 1 | 12350 | 12350
0
|  | i) 250 ND Restrained flange adaptor c/w restraining flange | No | 2 | 9750 | 19500
0
|  | j) Supply and install 'Denso layflat' sheeting and securing tape or similar approved including for profiling mastic and blanket wrapping of VJ couplings or flanges 400ND | No | 2 | 9750 | 19500
0
6.2.7 |  | Tie-in to SWASCO Waterworks |  |  |  | 0
|  | a) 400ND 4.5wt 90° medium radius steel bends (4 segments) flanged both ends 815 c/f | No | 1 | 19500 | 19500
0
|  | b) 400x250ND 4.5wt 280 long Reducer flanged, 250ND flange drilling to suit existing 250ND flange | No | 1 | 12350 | 12350
0
|  | c) 400ND Flange adaptor to suit 400 OD PVC pipe | No | 1 | 11050 | 11050
0
|  | d) Supply and install 'Denso layflat' sheeting and securing tape or similar approved including for profiling mastic and blanket wrapping of VJ couplings or flanges 400ND | No | 3 | 3640 | 10920
0
6.2.8 |  | Supply and installation of valves c/w bolting and NAF gaskets |  |  |  | 0
|  | a) 400ND PN10 310 f/f double excentric double flanged O-ring seated butterfly valve c/w rhs gearbox actuator and handwheel to DIN 592, epoxy paint coating to 250 micron minimum DFT | No | 1 | 62400 | 62400
0
|  | b) 250ND PN10 RSV isolating valve 330 f/f, clockwise closing, external (rising) spindle, handwheel operated, S.G. Iron body and bonnet, fusion bonded epoxy coating internally and externally to minimum dry film thickness of 250micron to SABS 665 | No | 1 | 28600 | 28600
0
|  | c) 250ND PN10 114 f/f Double door, spring loaded wafer non return valve, DI body and 304SS doors, epoxy paint coating to 250 micron minimum DFT | No | 1 | 23400 | 23400
0
|  | b) 80ND PN10 RSV isolating valve 203 f/f, clockwise closing, external (rising) spindle, handwheel operated, S.G. Iron body and bonnet, fusion bonded epoxy coating internally and externally to minimum dry film thickness of 250micron to SABS 665 | No | 6 | 15600 | 93600
0
|  | c) 80ND PN10 ARV/Vacuum breaker 'Ventomat RBXb' or similar, double orifice, flange studded inlet, mild steel fusion bonded epoxy coated ends, 304 stainless steel barrel c/w biassed mechanism | No | 6 | 23400 | 140400
0
6.3 | 8.2.3 | Supply and install 1250mm diameter precast concrete sewer manholes, complete as per drawings, including Type 4 access cover and frame for pipe invert depth |  |  |  | 0
|  | From Up to |  |  |  | 0
6.3.1 |  | a) 1.5 2.0 m | No | 5 | 23400 | 117000
0
6.3.2 |  | b) 2.0 2.5 m | No | 1 | 28600 | 28600
|  | TOTAL CARRIED FORWARD TO SUMMARY |  | . |  | 4880720
SECTION 7: NOT USED
0
0
0
0
0
0
0
0
|  | TOTAL CARRIED FORWARD TO SUMMARY |  |  |  | 0
SECTION 8: MECHANICAL AND ELECTRICAL WORKS
Pumps, Piping and Valves
Supply, transport, off-load, handle, lay, install, test run and commissiong the following:
8.1 |  | Pumpsets for a duty of 174 l/s (625 m3/h) at a total head of 56 m at 1485 rpm, pumps to be vertical turbine pumps with a length of 4000 from feet to bellmouth, water lubricated shaft, soft packed gland seals driven by 132KW/4P/400V/ IP66/TEFC/IE3 electric motor suitable for VSD and provided with anticondensation heaters and thermistors (one per phase), pumpsets to be supplied c/w coupling, base plate and delivery pressure gauges. | No | 2 | 1624000 | 3248000
0
8.2 |  | Supply, install, test and commission valves c/w bolting and NAF gaskets |  |  |  | 0
8.2.1 |  | 250ND PN10 250 f/f double excentric double flanged O-ring seated butterfly valve c/w rhs gearbox actuator and handwheel to DIN 592, epoxy paint coating to 250 micron minimum DFT | No | 2 | 132500 | 265000
0
8.2.2 |  | 250ND PN10 114 f/f Double door spring loaded wafer door non return valve, DI body, 304SS doors, 304SS hinge pin, epoxy paint coating to 250 micron minimum DFT | No | 2 | 136400 | 272800
0
8.2.3 |  | 80ND PN10 RSV isolating valve 203 f/f, clockwise closing, external (rising) spindle, handwheel operated, S.G. Iron body and bonnet, fusion bonded epoxy coating internally and externally to minimum dry film thickness of 250micron to SABS 665 | No | 1 | 26000 | 26000
0
8.2.4 |  | 80ND PN10 ARV/Vacuum breaker 'Ventomat RBXb' or similar, double orifice, flange studded inlet, mild steel fusion bonded epoxy coated ends, 304 stainless steel barrel c/w biassed mechanism | No | 1 | 10400 | 10400
0
8.3 |  | Supply, handle, lay, join and test the following steel pipe fittings PN10 (unless otherwise specified) 400 μm DFT epoxy lined and coated c/w bolting and NAF gaskets |  |  |  | 0
8.3.1 |  | 250ND 4.5wt 300 long plain ended and flanged ends c/w restraining flange and top 15ND threaded socket and plug for pressure gauge instrument | No | 2 | 12400 | 24800
0
8.3.2 |  | 250ND Flange adaptor to suit steel pipe, flange pump drilling to BS4504/10 | No | 2 | 12400 | 24800
0
8.3.3 |  | 250ND 4.5wt 250 long pipe flanged c/w top 15ND threaded socket and plug for pressure gauge instrument | No | 2 | 12400 | 24800
0
8.3.4 |  | 250ND 4.5wt 2115 long pipe flanged | No | 1 | 12400 | 12400
0
8.3.5 |  | 250ND 4.5wt 45° medium radius steel bends (3 segments) flanged both ends 255 c/f | No | 1 | 12400 | 12400
0
8.3.6 |  | 250ND 4.5wt 1750 long pipe flanged | No | 1 | 12400 | 12400
0
8.5.7 |  | 250ND 4.5wt 45° Lateral 815 f/f 685 c/f flanged | No | 1 | 12400 | 12400
0
8.3.8 |  | 250ND 4.5wt Tee 280 c/f flanged | No | 1 | 12400 | 12400
0
8.3.9 |  | 250ND 4.5wt 255 long Flat top Reducer flanged | No | 1 | 12400 | 12400
0
8.3.10 |  | 250ND Blank flange welded to 250 long 80ND medium duty pipe flanged | No | 1 | 10400 | 10400
0
8.4 |  | Low Headroom Electric Chain Hoist Tusker YST500 or similar approved 3.7KW/3PH/400V Dual Speed for 5t SWL for 7m travelling length c/w electrical control panel | No | 1 | 23400 | 23400
0
8.5 |  | Electrical Works. Design, Supply and Installation |  |  |  | 0
8.5.1 |  | Plinth mounted Transformer 315 kVA 33/0.4kV including earth mat | No | 1 | 923500 | 923500
0
8.5.2 |  | Low voltage IP54 Indoor floor mounted MCC for two 132 KW pumps (one duty and one stanby), rathing, lighting, welding plug,etc.) c/w incoming and individual isolators, ABB variable speed drives (VSD), cabling, protection and alarms including for the design, supply and installation of instrumentation and commissioning of a control system to maintain a predetermined flow discharge of max 174 litres/sec, alarms for max. and min. reservoir WLs and interlocking | Sum | 1 | 412000 | 412000
0
8.5.3 |  | Low voltage cables and cable terminations | Sum | 1 | 145500 | 145500
0
8.5.4 |  | Field equipment and Instrumentation |  |  |  | 0
|  | a) Emergency stop | No | 2 | 13250 | 26500
0
|  | b) Flow switches | No | 2 | 43900 | 87800
0
|  | c) Pressure transmitters | No | 2 | 165850 | 331700
0
|  | d) Radar water level control ‘Endress+Hauser Micropilot FMR50’ or similar approved c/w 30 m cable for reservoir level control | No | 1 | 128600 | 128600
0
|  | e) Safsonic F fixed clamp-on ultrasonic flowmeter with M2 sensors or similar approved c/w display unit | No | 1 | 439000 | 439000
0
8.6 |  | Preparation of final electrical design including PI&D, SLD, MCC and cable drawings for approval by the Engineer to be submitted 2 weeks after receipt of order | Sum | 1 | 219500 | 219500
0
8.7 |  | Preparation of comprenhensive O&M manual including compilation of suppliers manuals and as built piping, electrical and P&ID drawings. Manual to be submitted 2 weeks prior to commissioning | Sum | 1 | 315600 | 315600
|  | TOTAL CARRIED FORWARD TO SUMMARY |  |  |  | 7034500
SUMMARY
|  | SECTION 1: PRELIMINARY AND GENERAL |  |  |  | 2577900
|  | SECTION 2: EARTHWORKS |  |  |  | 8567349
|  | SECTION 3: CONCRETE WORK |  |  |  | 2535245.05
|  | SECTION 4: NOT USED |  |  |  | 0
|  | SECTION 5: STEELWORK |  |  |  | 703354
|  | SECTION 6: PIPELINES |  |  |  | 4880720
|  | SECTION 7: NOT USED |  |  |  | 7034500
|  | SECTION 8: MECHANICAL AND ELECTRICAL WORKS |  |  |  | 7034500
|  | TOTAL CARRIED FORWARD TO TENDER FORM |  |  |  | 33333568.05